Guideline: “For the case of a bare pipe running outside, the chart below can be used to adjust the external heat transfer coefficient from 50 W/m2 K (8.8 Btu/h ft2 °F) to account for temperature difference and wind velocity”.

Reference: Chris Haslego, “Making Decisions with insulation”, page 4, Special Case, Figure

http://www.cheresources.com/content/articles/heat-transfer/making-decisions-with-insulation?pg=4